P.O. Box 1451  Longview, WA  98632

Phone:  (360) 425-6177	     Fax:  (360) 423-7279

E-Mail:  office@cowlitzhabitat.org     www.cowlitzhabitat.org

# Safety Check List

Safety first!

Safety rules for volunteer workers:

- Report any condition that looks unsafe.

- Wear a hard hat when someone is working above you.

- Wear earplugs in high noise areas.

- Wear safety glasses or other eye protection when operating power saws or other equipment that may

throw off small hard particles.

- Make sure blade guards are in place when operating power saws.

- Use a respirator when working in dusty atmospheres.

- Wear leather gloves when handling wood or metal products.

- Avoid stepping on electrical power cords, especially in wet locations.

- Keep electrical power cords off the ground as much as possible.

- Make sure that ground fault interrupter (GFCI) is in place before plugging in electrical power cords.

- Do not use broken or malfunctioning tools, especially those with electrical problems.

- Do not use ladders as work platforms; use scaffolding instead.

- Do not use aluminum ladders around electrical power lines.

- Make sure that guardrails and toe boards are in place when working on scaffolding platforms more than   10 feet high.

- If you cut yourself, report to your supervisor immediately for first aid.

- If someone else cuts him/herself and blood gets on you, report this immediately to your supervisor.

- Do not enter a trench more than 5 feet in depth unless a co-worker is present on ground level to sound an alarm and render assistance in case of emergency.

- If asbestos is present, avoid touching, handling or disturbing it.  Let specialists handle it.

- If lead-based paint is present, use extra precautions – wash hands before eating.